## All Devices
Rank | Device_Name | Incident_Count | Percentage
1 | SPACE INFUSION SYSTEM - INFUSOMAT SPACE VOLUMETRIC INFUSION PUMP | 117 | 5.95
2 | INFUSOMAT SPACE PUMP IV SET | 92 | 4.67
3 | LIFELINE BETA AV-SET ONLINE PLUS BVM 5008-R | 84 | 4.27
4 | T:SLIM X2 INSULIN PUMP WITH CONTROL-IQ TECHNOLOGY | 75 | 3.81
5 | CONTROL-IQ TECHNOLOGY | 48 | 2.44
6 | T:SLIM/CONTROL-IQ | 45 | 2.29
7 | T:SLIM X2 CARTRIDGE | 40 | 2.03
8 | MINICAP EXTENDED LIFE PD TRANSFER SET W/TWIST CLAMP | 31 | 1.58
9 | PRISMAX CONTROL UNIT | 24 | 1.22
10 | NOVUM IQ LARGE VOLUME PUMP | 22 | 1.12
11 | DEXCOM G7 SENSOR | 21 | 1.07
12 | OMNIPOD DASH, PODS 10-PACK | 18 | 0.91
13 | INFUSOMAT SPACE PUMP IV SET WITH ANTI-SIPHON VALVE | 18 | 0.91
14 | T:SLIM/CONTROL-IQ, REPLACEMENT | 17 | 0.86
15 | INFUSOMAT SPACE PUMP IV SET; SPACE INFUSION SYSTEM - INFUSOMAT SPACE VOLUMETRIC INFUSION PUMP | 17 | 0.86
16 | DEXCOM G6 SENSOR | 16 | 0.81
17 | SMOOTH ROUND MODERATE PLUS PROFILE SILICONE GEL FILLED BREAST IMPLANTS | 15 | 0.76
18 | UNKNOWN LUMENIS VERSAPULSE HOLMIUM LASER | 15 | 0.76
19 | PRISMAFLEX HAEMODIALYSIS SETS WITH FILTER; PRISMAX CONTROL UNIT | 15 | 0.76
20 | INGEVITY+ EXTENDABLE/RETRACTABLE FIXATION | 14 | 0.71
21 | RELIANCE 4-FRONT - SINGLE SHOCK COIL WITH SILICONE IN-FILL | 13 | 0.66
22 | FINELINE II STEROX | 12 | 0.61
23 | HEARTMATE 3 LVAS IMPLANT KIT | 12 | 0.61
24 | ACCOLADE MRI PACEMAKER | 12 | 0.61
25 | KANGAROO OMNI ENTERAL FEEDING PUMP | 12 | 0.61
26 | VIAVALVE-W SAFETY IV CATHETER - RADIOPAQUE | 12 | 0.61
27 | UNKNOWN B BRAUN INFUSION PUMP | 11 | 0.56
28 | B-D LUER-LOK TIP SYRINGE | 11 | 0.56
29 | INFUSOMAT SPACE PUMP Y-TYPE BLOOD IV SET WITH ANTI-SIPHON VALVE | 11 | 0.56
30 | HARMONIC 1100 SHEARS | 10 | 0.51
31 | THERMAGE THERMACOOL CPT SYSTEM - TREATMENT TIP, FAST, FRAMED, NON-STERILE | 10 | 0.51
32 | CAPTIVATOR COLD SINGLE-USE SNARE | 10 | 0.51
33 | COOLSCULPTING SYSTEM - CONTROL UNIT | 9 | 0.46
34 | THERMOCOOL SMARTTOUCH SF BI-DIRECTIONAL NAVIGATION CATHETER | 9 | 0.46
35 | TRICLIP G4 DELIVERY SYSTEM | 8 | 0.41
36 | MITRACLIP G4 CLIP DELIVERY SYSTEM, XTW | 8 | 0.41
37 | RESONATE EL ICD-MRI | 8 | 0.41
38 | AUTOSOFT 90 | 8 | 0.41
39 | OMNIPOD INSULIN MANAGEMENT SYSTEM - OMNIPOD | 8 | 0.41
40 | SMOOTH ROUND HIGH PROFILE SILICONE GEL FILLED BREAST IMPLANTS | 8 | 0.41
41 | BD ALARIS PUMP MODULE; BD ALARIS PCU | 8 | 0.41
42 | BD ALARIS PUMP MODULE | 8 | 0.41
43 | CARPENTIER-EDWARDS PERIMOUNT MAGNA EASE PERICARDIAL BIOPROSTHESIS, AORTIC | 7 | 0.36
44 | EVOLUT FX TRANSCATHETER AORTIC VALVE; EVOLUT FX DELIVERY CATHETER SYSTEM | 7 | 0.36
45 | INSYTE AUTOGUARD SHIELDED I.V. CATHETER | 7 | 0.36
46 | UNKNOWN - DEVICE DETAILS NOT PROVIDED BY COMPLAINANT | 7 | 0.36
47 | UNKNOWN B BRAUN IV TUBING | 7 | 0.36
48 | V60 VENTILATOR, SYMBOLS ONLY, WITH CFLEX AND AVAPS OPTIONS | 7 | 0.36
49 | FARAWAVE PULSED FIELD ABLATION CATHETER | 6 | 0.3
50 | EMBLEM S-ICD SUBCUTANEOUS ELECTRODE | 6 | 0.3
51 | EVOLUT FX TRANSCATHETER AORTIC VALVE | 6 | 0.3
52 | STYLE 68 SMOOTH, ROUND SALINE-FILLED BREAST IMPLANT W/FILL TUBE & BIOCELL S | 6 | 0.3
53 | SAFETY GLIDE SHIELDING IM INJECTION NEEDLE | 6 | 0.3
54 | UNKNOWN INFUSION PUMPS | 6 | 0.3
55 | TRILOGY 2O2, INTERNATIONAL | 6 | 0.3
56 | DREAMSTATION AUTO CPAP | 5 | 0.25
57 | BD NEXIVA CLOSED IV CATHETER SYSTEM - SINGLE PORT | 5 | 0.25
58 | VIO 300 D - ELECTROSURGICAL UNIT | 5 | 0.25
59 | SALINE-FILLED MAMMARY PROSTHESES WITH DIAPHRAGM VALVE | 5 | 0.25
60 | BD ALARIS PUMP INFUSION SET | 5 | 0.25
61 | PRESSURE INFUSION EXT SET W/MICROCLAVE CLEAR, CLAMP, ROTATING LUER | 5 | 0.25
62 | TECNIS SYNERGY OPTIBLUE IOL WITH TECNIS SIMPLICITY DELIVERY SYSTEM | 4 | 0.2
63 | UNKNOWN BREAST IMPLANT | 4 | 0.2
64 | CARPENTIER-EDWARDS PERIMOUNT MAGNA MITRAL EASE WITH THERMAFIX | 4 | 0.2
65 | MITRACLIP G4 STEERABLE GUIDE CATHETER | 4 | 0.2
66 | VISIONIST X4 CRT-P | 4 | 0.2
67 | INFINITY TIBIAL TRAY | 4 | 0.2
68 | GUARDIAN 4 SENSOR | 4 | 0.2
69 | POWERPICC SV CATHETER WITH SHERLOCK 3CG TPS STYLET, BASIC KIT | 4 | 0.2
70 | EMBLEM MRI S-ICD PG | 4 | 0.2
71 | BD VACUTAINER ULTRA TOUCH PUSH BUTTON BLOOD COLLECTION SET | 4 | 0.2
72 | TECNIS PURESEE TORIC II IOL WITH TECNIS SIMPLICITY DELIVERY SYSTEM | 4 | 0.2
73 | BD ALARIS PCU | 4 | 0.2
74 | SMOOTH ROUND MODERATE PLUS PROFILE SALINE BREAST IMPLANT W/DIAPHRAGM VALVE | 4 | 0.2
75 | BD ECLIPSE NEEDLE | 4 | 0.2
76 | TEGO CATHETER CONNECTOR | 4 | 0.2
77 | HAMILTON-T1 | 4 | 0.2
78 | VINYL EXAMINATION GLOVES STRETCH | 4 | 0.2
79 | THREE-SPRING 400CC EVACUATOR KITS W/PVC DRAIN Y-CONNECTOR & TROCAR | 4 | 0.2
80 | PREMICATH | 4 | 0.2
81 | STOPCOCKS CLEAR, FOUR WAY STOPCOCK | 4 | 0.2
82 | FARADRIVE STEERABLE SHEATH | 3 | 0.15
83 | VERSACROSS CONNECT ACCESS SOLUTION FOR FARADRIVE | 3 | 0.15
84 | MEDTRONIC MINIMED PARADIGM MEDICATION RESERVOIRS; MINIMED MIO ADVANCE, SC1; MINIMED 780G PUMP; GUARDIAN 4 SENSOR | 3 | 0.15
85 | CLEARLINK SYSTEM CONTINU-FLO SOLUTION SET | 3 | 0.15
86 | TECNIS EYHANCE TORIC II IOLS WITH TECNIS SIMPLICITY DELIVERY SYSTEM | 3 | 0.15
87 | UNKNOWN RENAL DISPOSABLE WITH CASSETTE BAXTER | 3 | 0.15
88 | UNKNOWN MENTOR GEL BREAST IMPLANT | 3 | 0.15
89 | CAPSUREFIX NOVUS STERIOD ELUTING VENTRICULAR/ATRIAL TRANSVENOUS LEAD | 3 | 0.15
90 | EDWARDS SAPIEN 3 TRANSCATHETER HEART VALVE | 3 | 0.15
91 | OMNIPOD DASH, PDM, PERSONAL DIABETES MANAGER | 3 | 0.15
92 | ULTRAFLEX INTRA-AORTIC BALLOON | 3 | 0.15
93 | MINIMED MIO ADVANCE, SC1 | 3 | 0.15
94 | AVEIR LEADLESS PACEMAKER | 3 | 0.15
95 | AVEIR DELIVERY CATHETER | 3 | 0.15
96 | STYLE 115 SILICONE - FILLED BREAST IMPLANTS - BIOCELL ROUND | 3 | 0.15
97 | ACUITY X4 STRAIGHT | 3 | 0.15
98 | SILTEX TEXTURED ROUND MODERATE PROFILE SILICONE GEL FILLED BREAST IMPLANTS | 3 | 0.15
99 | INGENIO PACEMAKER | 3 | 0.15
100 | MENTOR MEMORY GEL XTRA BREAST IMPLANT, SMOOTH HIGH PROFILE XTRA SILICONE GEL FILLED BREAST IMPLANT | 3 | 0.15
101 | INGEVITY MRI | 3 | 0.15
102 | MENTOR MEMORY GEL XTRA BREAST IMPLANT, SMOOTH MODERATE PLUS PROFILE XTRA SILICONE GEL FILLED BREAST IMPLANT | 3 | 0.15
103 | EVO VISIAN ICL | 3 | 0.15
104 | SMOOTH ROUND MODERATE PROFILE SILICONE GEL FILLED BREAST IMPLANTS | 3 | 0.15
105 | ASTRA XT DR MRI SURESCAN | 3 | 0.15
106 | RESOLUTION 360 CLIP | 3 | 0.15
107 | BARD LUBRI-SIL FOLEY CATHETER | 3 | 0.15
108 | GIA AUTOSUTURE STAPLER WITH DST SERIES TECHNOLOGY SINGLE USE STAPLER WITH DST SERIES TECHNOLOGY | 3 | 0.15
109 | ALLIANCE INTEGRATED INFLATION SYSTEM | 3 | 0.15
110 | ARGYLE FEEDING TUBE RADIOPAQUE | 3 | 0.15
111 | 5008 CORDIAX - HEMODIALYSIS MACHINE, VERSION 5008 ONLINEPLUS | 3 | 0.15
112 | UNKNOWN FRESENIUS HEMODIALYSIS MACHINE | 3 | 0.15
113 | BD NEXIVA DIFFUSICS CLOSED IV CATHETER SYSTEM | 3 | 0.15
114 | SECONDARY SET | 3 | 0.15
115 | MAXZERO NEEDLELESS CONNECTOR | 3 | 0.15
116 | STRATASORB WATERPROOF ADHESIVE ISLAND WOUND DRESSINGS | 3 | 0.15
117 | AUTO SUTURE BLUNT TIP TROCAR | 3 | 0.15
118 | TRANSFER SET | 3 | 0.15
119 | "INSYTE AUTOGUARD WINGED SHIELDED I.V. CATHETER" | 3 | 0.15
120 | INFUSOMAT SPACE LINE, TYPE TRANSFUSION | 3 | 0.15
121 | KANGAROO CONNECT FEEDING SET ANTI-FREE FLOW | 3 | 0.15
122 | EVOLUT FX DELIVERY CATHETER SYSTEM | 3 | 0.15
123 | RELAYPRO THORACIC STENT GRAFT SYSTEM CUSTOM MADE | 3 | 0.15
124 | SAFESTEP HUBER NEEDLE SET | 2 | 0.1
125 | ENDOTAK RELIANCE SG | 2 | 0.1
126 | MONA LISA 5 MINI (NT CU380) INTRAUTERINE DEVICE | 2 | 0.1
127 | EEA AUTOSUTURE SINGLE USE CIRCULAR STAPLER WITH DST SERIES | 2 | 0.1
128 | GORE EXCLUDER AAA ENDOPROSTHESIS | 2 | 0.1
129 | NATRELLE INSPIRA SSF TRUFORM 2 (SOFT TOUCH) | 2 | 0.1
130 | HEARTSTART INTREPID MONITOR/DEFIBRILLATOR | 2 | 0.1
131 | AMPLIA MRI QUAD CRT-D SURESCAN | 2 | 0.1
132 | PLUMEPEN ULTRA SURGICAL SMOKE EVACUATION PENCIL | 2 | 0.1
133 | MINIMED 770G | 2 | 0.1
134 | MOMENTUM CRT-D | 2 | 0.1
135 | ENDOTAK RELIANCE S LEAD | 2 | 0.1
136 | UNKNOWN MENTOR SALINE BREAST IMPLANTS | 2 | 0.1
137 | NAVITOR TRANSCATHETER HEART VALVE | 2 | 0.1
138 | EMPRINT PERCUTANEOUS ANTENNA WITH THERMOSPHERE TECHNOLOGY LARGE SPHERICAL ABLATION ZONE | 2 | 0.1
139 | GORE TAG CONFORMABLE THORACIC STENT GRAFT WITH ACTIVE CONTROL SYSTEM | 2 | 0.1
140 | TRUSTEEL | 2 | 0.1
141 | MITRACLIP G4 CLIP DELIVERY SYSTEM, NTW | 2 | 0.1
142 | BLUE RHINO G2-MULTI PERCUTANEOUS TRACHEOSTOMY INTRODUCER SET | 2 | 0.1
143 | TECNIS 1-PIECE IOL WITH TECNIS SIMPLICITY DELIVERY SYSTEM | 2 | 0.1
144 | SILICONE ELASTOMER COATED FOLEY CATHETER STERILE 2 WAY WITH BALLOON | 2 | 0.1
145 | WATCHMAN FLX PRO LEFT ATRIAL APPENDAGE CLOSURE DEVICE WITH DELIVERY SYSTEM | 2 | 0.1
146 | INFUSOR, LOW VOLUME | 2 | 0.1
147 | PERCLOSE PROSTYLE SUTURE-MEDIATED CLOSURE AND REPAIR SYSTEM | 2 | 0.1
148 | ONCONTROL BIOPSY SYSTEM - BONE ACCESS TRAY - COAXIAL NEEDLES | 2 | 0.1
149 | VIZISHOT 2 FLEX | 2 | 0.1
150 | HEALICOIL REGENESORB SUTURE ANCHOR WITH ONE ULTRATAPE AND ONE ULTRABRAID SUTURE | 2 | 0.1
151 | AUTOGEN ICD-MRI | 2 | 0.1
152 | BIO-MEDICUS FEMORAL CANNULAE | 2 | 0.1
153 | UNKNOWN INSULIN INFUSION PUMPS | 2 | 0.1
154 | HEARTMATE 3 SYSTEM CONTROLLER | 2 | 0.1
155 | CAPSUREFIX NOVUS MRI SURESCAN; ASTRA XT DR MRI SURESCAN | 2 | 0.1
156 | BD PRONTO QUICK RELEASE NEEDLE HOLDER | 2 | 0.1
157 | NAVITOR TITAN TRANSCATHETER HEART VALVE | 2 | 0.1
158 | ADVANCE SERENITY 18 HYDROPHILIC PTA BALLOON CATHETER | 2 | 0.1
159 | STYLE 410 SOFT TOUCH COHESIVE SILICONE-GEL FILLED BREAST IMPLANTS | 2 | 0.1
160 | INFINITY ADAPTIS TIBIAL TRAY | 2 | 0.1
161 | CAPSUREFIX NOVUS MRI SURESCAN | 2 | 0.1
162 | WHITACRE SPINAL ANESTHESIA NEEDLE | 2 | 0.1
163 | HI-TORQUE BALANCE MIDDLEWEIGHT UNIVERSAL II GUIDE WIRE WITH TURBOCOAT HYDROPHILIC COATING | 2 | 0.1
164 | UNKNOWN BAUSCH & LOMB LICENSE 101313 ENVISTA | 2 | 0.1
165 | UNKNOWN MEDTRONIC MINIMED INSULIN PUMP | 2 | 0.1
166 | VIVA QUAD S CRT-D | 2 | 0.1
167 | DISPOSABLE NASAL CANNULA | 2 | 0.1
168 | AMPLATZER AMULET LEFT ATRIAL APPENDAGE OCCLUDER | 2 | 0.1
169 | MINIMED 780G PUMP | 2 | 0.1
170 | RESOLUTION 360 ULTRA CLIP | 2 | 0.1
171 | PRISMAFLEX HAEMODIALYSIS SETS WITH FILTER; PRISMAFLEX WITH SOFTWARE 7.10 | 2 | 0.1
172 | ARROW CRITICAL CARE POLY PERCUT SHEATH INTRO SETS FOR CENTRAL VENOUS ACCESS | 2 | 0.1
173 | UNKNOWN WRIGHT MEDICAL PROPHECY INVISION | 2 | 0.1
174 | SYNERGY MEGATRON MONORAIL EVEROLIMUS-ELUTING PLATINUM CHROMIUM CORONARY STENT SYSTEM | 2 | 0.1
175 | NATRELLE INSPIRA SSM TRUFORM 2 (SOFT TOUCH) | 2 | 0.1
176 | LYKA PORT | 2 | 0.1
177 | UNKNOWN INDICATION/IDENTIFICATION LABELS | 2 | 0.1
178 | SPECTRA OPTIA APHERESIS SYSTEM - MAIN UNIT | 2 | 0.1
179 | CPG 333 GEL BREAST IMPLANT COHESIVE III, TALL HEIGHT, HIGH PROFILE | 2 | 0.1
180 | INFINITY M540 | 2 | 0.1
181 | UNKNOWN MEDTRONIC OXYGEN CONCENTRATOR | 2 | 0.1
182 | REMSTAR AUTO WITH SD CARD, A-FLEX, CANADA | 2 | 0.1
183 | PURITAN BENNETT 980 SERIES VENTILATOR - VENTILATOR | 2 | 0.1
184 | BRK(TM) TRANSSEPTAL NEEDLE, ADULT | 2 | 0.1
185 | LNCS OXIMETRY SENSOR | 2 | 0.1
186 | ARGYLE POLYURETHANE UMBILICAL VESSEL CATHETER SINGLE LUMEN | 2 | 0.1
187 | AVALON FETAL MONITOR FM30 - MAIN UNIT | 2 | 0.1
188 | UNKNOWN BAXTER TRANSFER SET | 2 | 0.1
189 | JACKSON SPINAL TABLE | 2 | 0.1
190 | ENTRAFLO NUTRITION DELIVERY SYSTEM GRAVITY FEEDING SET | 2 | 0.1
191 | BIPAP A40 PRO, CA | 2 | 0.1
192 | CARESCAPE CENTRAL STATION | 2 | 0.1
193 | FLUOROSCAN INSIGHT FD MINI C-ARM IMAGING SYSTEM | 2 | 0.1
194 | NEEDLES WITH Y PORT | 2 | 0.1
195 | UNKNOWN FRESENIUS 5008 CORDIAX HEMODIALYSIS MACHINE | 2 | 0.1
196 | ID NOW COVID-19 2.0 | 2 | 0.1
197 | ZOLL R SERIES DEFIBRILLATOR | 2 | 0.1
198 | ECHELON CONTOUR CURVED CUTTER | 2 | 0.1
199 | OSCILLATING BLADE (GENERIC) | 2 | 0.1
200 | BAG SPIKE, CLAVE | 2 | 0.1
201 | FABIAN HFO PREMATURE INFANT AND PAEDIATRIC VENTILATOR - VENTILATOR | 2 | 0.1
202 | BD PLASTIPAK SYRINGE LUER-LOK TIP | 2 | 0.1
203 | CENTRELLA MAX SURFACE | 2 | 0.1
204 | KANGAROO OMNI FEEDING SET | 2 | 0.1
205 | DREAMSTATION CPAP PRO | 2 | 0.1
206 | KNEE SCORPION NEEDLE | 2 | 0.1
207 | PICC CONVENIENCE KIT | 2 | 0.1
208 | LIGASURE RETRACTABLE L-HOOK LAPAROSCOPIC SEALER/DIVIDER | 2 | 0.1
209 | BARDEX SILICONE FOLEY CATHETER | 2 | 0.1
210 | BD VACUTAINER PUSH BUTTON BLOOD COLLECTION SET | 2 | 0.1
211 | COVIDIEN ABSORBATACK SINGLE USE ABS FIX DEVICE TACKS | 2 | 0.1
212 | TAPERGUARD EVAC ENDOTRACHEAL TUBE - CUFFED | 2 | 0.1
213 | POWERPICC SOLO2 CATHETER SHERLOCK STYLET AND MICROINTRODUCER | 2 | 0.1
214 | SENSICARE ICE POWDER-FREE NITRILE EXAMS GLOVES | 2 | 0.1
215 | MYOSURE TISSUE REMOVAL DEVICE | 2 | 0.1
216 | LEVEL 1 NORMOTHERMIC I.V. FLUID ADMINISTRATION SETS | 2 | 0.1
217 | SURGICAL PUNCH | 2 | 0.1
218 | ENDOTRACHEAL TUBE MURPHY EYE, HIGH VOLUME, LOW PRESSURE CUFF | 2 | 0.1
219 | VIAFLEX CONTAINER 500ML 0.9% SODIUM CHLORIDE INJECTION USP | 2 | 0.1
220 | NUTRILINE TWINFLO, CATHETER | 2 | 0.1
221 | ENDOPATH ECHELON ENDOSCOPIC LINEAR CUTTER RELOAD WITH GRIPPING SURFACE TECHNOLOGY; ECHELON 3000 STAPLER | 2 | 0.1
222 | DOUBLE LUMEN VASCU-PICC SET | 2 | 0.1
223 | POWERPICC CATHETER SHERLOCK STYLET AND MICROINTRODUCER | 2 | 0.1
224 | MEDPRO DISPOSABLE LATEX-FREE TOURNIQUETS | 2 | 0.1
225 | ETHICON SECURESTRAP ABSORBABLE STRAP FIXATION DEVICE | 2 | 0.1
226 | LINEAR CUTTER | 2 | 0.1
227 | CRANIOTOMY PACKS | 2 | 0.1
228 | SYNGUARD NITRILE EXAM GLOVES | 2 | 0.1
229 | ZOLL X SERIES MONITOR/DEFIBRILLATOR | 2 | 0.1
230 | UNKNOWN BIOSENSE SMART TOUCH BIDIRECTIONAL CATHETER | 2 | 0.1
231 | SMOOTH ROUND HIGH PROFILE SALINE-FILLED MAMMARY PROSTHESIS | 2 | 0.1
232 | STRATAFIX SYMMETRIC PDS PLUS KNOTLESS TISSUE CONTROL DEVICE ANTIBACTERIAL (POLYDIOXANONE) | 2 | 0.1
233 | GUIDEWIRE, TROCAR TIP W/LASER LINE, THREADED | 1 | 0.05
234 | INBONE TOTAL ANKLE SYSTEM - TALAR STEM | 1 | 0.05
235 | HOT AXIOS STENT AND ELECTROCAUTERY-ENHANCED DELIVERY SYSTEM | 1 | 0.05
236 | ALLIANCE GLENOID, AUGMENT REAMER DRIVER | 1 | 0.05
237 | MINIMED 670G | 1 | 0.05
238 | SOLTIVE SUPERPULSED LASER BALL TIP FIBER SINGLE USE | 1 | 0.05
239 | MEDTRONIC MINIMED PARADIGM MEDICATION RESERVOIRS; MINIMED MIO 30; MINIMED 780G PUMP | 1 | 0.05
240 | MINIMED PARADIGM MEDICATION RESERVOIRS; MINIMED MIO ADVANCE, SC1; GUARDIAN 4 SENSOR | 1 | 0.05
241 | HORIZON TITANIUM LIGATING CLIPS | 1 | 0.05
242 | INSPIRIS RESILIA AORTIC VALVE | 1 | 0.05
243 | TORNIER PERFORM HUMERAL SYSTEM HUMERAL STEM | 1 | 0.05
244 | EDWARDS SAPIEN 3 ULTRA TRANSCATHETER HEART VALVE | 1 | 0.05
245 | POWERPICC CATHETER STANDARD GUIDEWIRE IR BASIC KIT | 1 | 0.05
246 | TMZF PRESS FIT STEM - 132 (DEGREES) | 1 | 0.05
247 | INSPIRE OXYGENATOR PERFUSION TUBING PACK PHISIO OR NON PHISIO COATED W/OXYGENATOR | 1 | 0.05
248 | SENSURA MIO CONCAVE CLICK OSTOMY BASEPLATE | 1 | 0.05
249 | FORCE BIPOLAR | 1 | 0.05
250 | CORNEAT KPRO IMPLANTATION KIT | 1 | 0.05
251 | CELLO BALLOON GUIDE CATHETER/INTRAVASCULAR CATHETER WITH CUFF; PHENOM 27 CATHETER | 1 | 0.05
252 | UNKNOWN BD INFUSION PUMP | 1 | 0.05
253 | UNKNOWN EZ SPRAY TOPICALIZATION DEVICE EZ-100 | 1 | 0.05
254 | NEXGEN COMP KNEE SOL LEG KNEE-POST STAB PROLONG CROSSLINKED POLY LPS-FLEX | 1 | 0.05
255 | ADVANTIM FULLY POROUS COATED POSTERIOR STABILIZED FEMORAL IMPLANT | 1 | 0.05
256 | UNKNOWN UNOMEDICAL INSULIN PUMP | 1 | 0.05
257 | GORE VIABAHN VBX BALLOON EXPANDABLE ENDOPROSTHESIS | 1 | 0.05
258 | GORE EXCLUDER CONFORMABLE AAA ENDOPROSTHESIS - TRUNK-IPSILATERAL LEG | 1 | 0.05
259 | GORE VIABAHN ENDOPROSTHESIS WITH PROPATEN BIOACTIVE SURFACE | 1 | 0.05
260 | R3 ACETABULAR SYSTEM - CONSTRAINED ACETABULAR LINER | 1 | 0.05
261 | UNKNOWN BOSTON SCIENTIFIC LICENSE 7206 AMS 800 URINARY CONTROL SYSTEM | 1 | 0.05
262 | BAUSCH + LOMB INJECTOR SYSTEM IOL INJECTOR CARTRIDGE | 1 | 0.05
263 | ENVISTA HYDROPHOBIC ACRYLIC IOL-TORIC | 1 | 0.05
264 | UNKNOWN PATIENT LIFTING SYSTEMS | 1 | 0.05
265 | AMS SPHINCTER 800 URINARY PROSTHESIS CONTROL PUMP W/INHIBIZONE ANTIBIOTIC | 1 | 0.05
266 | AURORA EV-ICD MRI SURESCAN; EPSILA EV MRI SURESCAN LEAD | 1 | 0.05
267 | SPRINT QUATTRO SECURE S VENTRICULAR LEAD; CAPSUREFIX NOVUS STERIOD ELUTING VENTRICULAR/ATRIAL TRANSVENOUS LEAD; ATTAIN PERFORMA; AMPLIA MRI QUAD CRT-D SURESCAN | 1 | 0.05
268 | MITRIS RESILIA MITRAL VALVE | 1 | 0.05
269 | EYEFILL M.B. | 1 | 0.05
270 | ZIMMER PERIARTICULAR LOCKING PLATE SYSTEM - INSTRUMENTS | 1 | 0.05
271 | AMIA AUTOMATED PD SYSTEM - CYCLER | 1 | 0.05
272 | ACCU-CHEK SOFTCLIX LANCING DEVICE | 1 | 0.05
273 | SOLARA CRT-P MRI SURESCAN | 1 | 0.05
274 | VERSACROSS CONNECT ACCESS SOLUTION FOR POLARSHEATH | 1 | 0.05
275 | ELLIPS FX PHACO HANDPIECE | 1 | 0.05
276 | RXSIGHT LIGHT ADJUSTABLE LENS | 1 | 0.05
277 | CARBOMEDICS PROSTHETIC HEART VALVE STANDARD MITRAL | 1 | 0.05
278 | CARTO 3 EP NAVIGATION SYSTEM; UNKNOWN BIOSENSE SMART TOUCH BIDIRECTIONAL CATHETER | 1 | 0.05
279 | POLARX FIT SHORT TIP CRYOABLATION BALLOON CATHETER | 1 | 0.05
280 | NATRELLE INSPIRA SSX TRUFORM 2 (SOFT TOUCH) | 1 | 0.05
281 | ZIMMER DERMATOME HANDPIECE | 1 | 0.05
282 | NEPTUNE E-SEP SMOKE EVACUATION PENCILS | 1 | 0.05
283 | MEDTRONIC MINIMED PARADIGM MEDICATION RESERVOIRS; MINIMED MIO ADVANCE, SC1; MINIMED 780G PUMP | 1 | 0.05
284 | NEPTUNE SAFEAIR SMOKE EVACUATION PENCIL | 1 | 0.05
285 | UNKNOWN IMPLANT PARAGON SCREW-V 13MM LONG PSV13 | 1 | 0.05
286 | TEOSYAL RHA 3 | 1 | 0.05
287 | GORE EXCLUDER AAA ENDOPROSTHESIS - TRUNK IPSILATERAL | 1 | 0.05
288 | GORE EXCLUDER ILIAC BRANCH ENDOPROSTHESIS - INTERNAL ILIAC COMPONENT | 1 | 0.05
289 | GORE EXCLUDER AAA ENDOPROSTHESIS-CONTRALATERAL LEG | 1 | 0.05
290 | A.M.G.MODULE PMP NO T.P. CA | 1 | 0.05
291 | AZURE S DR MRI SURESCAN | 1 | 0.05
292 | TACTRA MALLEABLE PENILE PROSTHESIS | 1 | 0.05
293 | UNKNOWN KCI V.A.C. GRANUFOAM DRESSING | 1 | 0.05
294 | FLEXTEND BIPOLAR PACING LEAD - 52CM | 1 | 0.05
295 | SINGLE USE ASPIRATION NEEDLE - TRACHEOBRONCHIAL TREE AND ESOPHAGUS | 1 | 0.05
296 | CHEMSTRIP 10A | 1 | 0.05
297 | SMOOTH ROUND MODERATE CLASSIC PROFILE GEL-FILLED BREAST IMPLANT | 1 | 0.05
298 | TECNIS EYHANCE IOL | 1 | 0.05
299 | MONA LISA 5 (NT CU380) INTRAUTERINE DEVICE | 1 | 0.05
300 | SPRINT QUATTRO SECURE S VENTRICULAR LEAD; CAPSUREFIX MRI SURESCAN LEAD; CAPSURE SENSE MRI SURESCAN LEADS; AMPLIA MRI QUAD CRT-D SURESCAN | 1 | 0.05
301 | VANGUARD TOTAL KNEE SYSTEM - DCM - PS TIBIAL BEARINGS | 1 | 0.05
302 | CAPSUREFIX NOVUS STERIOD ELUTING VENTRICULAR/ATRIAL TRANSVENOUS LEAD; SENSIA SINGLE CHAMBER RATE RESPONSIVE PACEMAKER | 1 | 0.05
303 | VIVA QUAD XT CRT-D | 1 | 0.05
304 | ENVISTA ENVY TORIC HYDROPHOBIC ACRYLIC IOL (NON-PRELOADED) | 1 | 0.05
305 | AFFINITY FUSION OXYGENATOR - OXYGENATOR WITH INTEGRATED ARTERIAL FILTER AND BALANCE BIOSURFACE | 1 | 0.05
306 | SPRINT FIDELIS STEROID ELUTING QUAD. VENT. LEAD W/RV/SVC DEFIB. COIL ELECTR; EVERA XT DR DIGITAL DUAL CHAMBER IMPLANTABLE CARDIOVERTER DEFIBRILLATOR | 1 | 0.05
307 | SILTEX TEXTURED ROUND HIGH PROFILE SILICONE GEL FILLED BREAST IMPLANTS | 1 | 0.05
308 | STYLE 410FX SILICONE FILLED BREAST IMPLANTS; NATRELLE 410FX TRUFORM SILICONE - FILLED BREAST IMPLANT | 1 | 0.05
309 | MEDTRONIC MINIMED PARADIGM MEDICATION RESERVOIRS; MINIMED 670G; MINIMED SILHOUETTE | 1 | 0.05
310 | SABER PTA DILATION CATHETER | 1 | 0.05
311 | T:SLIM X2 / BASAL-IQ (MMOL/L) | 1 | 0.05
312 | TRILOGY ACETABULAR SYSTEM - BONE SCREWS | 1 | 0.05
313 | ONE-LINK, NON-DEHP Y-TYPE STANDARD BORE CATHETER EXATENSION SET, NEEDLE-FREE IV CONNECTOR WITH NEUTRAL FLUID DISPLACEMENT | 1 | 0.05
314 | ICESEED 1.5 CRYOABLATION NEEDLE | 1 | 0.05
315 | DUCOR ANGIOGRAPHIC CATHETERS | 1 | 0.05
316 | QUICK CONNECT FLEXIBLE DRILL SHAFT | 1 | 0.05
317 | NATRELLE INSPIRA COHESIVE BREAST IMPLANT SMOOTH ROUND MODERATE PROFILE | 1 | 0.05
318 | MITRACLIP G4 CLIP DELIVERY SYSTEM, XT; MITRACLIP G4 CLIP DELIVERY SYSTEM, XTW | 1 | 0.05
319 | CINGAL | 1 | 0.05
320 | CAPSURE SP STEROID ELUTING BIPOLAR ATRIAL TRANSVENOUS LEAD; CAPSURE SENSE MRI SURESCAN LEADS; AZURE S SR MRI SURESCAN | 1 | 0.05
321 | STYLE 110 SILICONE FILLED BREAST IMPLANTS - TEXTURED SHELL WITH LAYER | 1 | 0.05
322 | VALLEYLAB FT10 FT SERIES ENERGY PLATFORM | 1 | 0.05
323 | TAPERED SCREW-VENT IMPLANT, WIDE, MTX 4.1-4.7MM D | 1 | 0.05
324 | GASTRIC SUCTION & FEEDING TUBE HOLDER | 1 | 0.05
325 | TAPERED SCREW-VENT IMPLANT, MTX 3.7MM D; TAPERED SCREW-VENT IMPLANT, WIDE, MTX 4.1-4.7MM D | 1 | 0.05
326 | RELIANCE 4-FRONT | 1 | 0.05
327 | EVIS EUS ULTRASOUND BRONCHOFIBERVIDEOSCOPE | 1 | 0.05
328 | PERISTEEN PLUS TRANSANAL IRRIGATION SYSTEM | 1 | 0.05
329 | CAPSURE Z STEROID ELUTING BIPOLAR VENTRICULAR TRANSVENOUS LEAD | 1 | 0.05
330 | MEDTRONIC MINIMED PARADIGM MEDICATION RESERVOIRS; MINIMED MIO ADVANCE, SC1; GUARDIAN 4 SENSOR | 1 | 0.05
331 | LGX PRECONNECT WITH MS PUMP, PENOSCROTAL INHIBIZONE COATED | 1 | 0.05
332 | ONE STEP CENTESIS CATHETER WITH INTRODUCER NEEDLE | 1 | 0.05
333 | MOMENTUM EL ICD | 1 | 0.05
334 | ENDOTAK RELIANCE G | 1 | 0.05
335 | UNKNOWN CYSTONEPHROSCOPES | 1 | 0.05
336 | SINGLE USE ELECTROSURGICAL SNARE SD-400 | 1 | 0.05
337 | SINGLE USE ELECTROSURGICAL HEMOSTATIC FORCEPS | 1 | 0.05
338 | CARPENTIER-EDWARDS PHYSIO II RING | 1 | 0.05
339 | GORE TAG THORACIC BRANCH ENDOPROSTHESIS AORTIC COMPONENT; GORE TAG THORACIC BRANCH ENDOPROSTHESIS SIDE BRANCH COMPONENT | 1 | 0.05
340 | VENUE | 1 | 0.05
341 | CLEARLINK SYSTEM - SOLUTION SET WITH DUO-VENT SPIKE | 1 | 0.05
342 | EVERA XT DR DIGITAL DUAL CHAMBER IMPLANTABLE CARDIOVERTER DEFIBRILLATOR | 1 | 0.05
343 | EMBLEM S-ICD PULSE GENERATOR | 1 | 0.05
344 | ENDO CATCH GOLD SPECIMEN POUCH | 1 | 0.05
345 | ATTAIN STABILITY QUAD MRI SURESCAN 4798 | 1 | 0.05
346 | SARA 3000 PATIENT LIFT | 1 | 0.05
347 | CAPSUREFIX NOVUS STERIOD ELUTING VENTRICULAR/ATRIAL TRANSVENOUS LEAD; SPRINT QUATTRO SECURE S MRI SURESCAN (DF4); CROME HF QUAD CRT-D MRI SURESCAN | 1 | 0.05
348 | AT LISA TRI | 1 | 0.05
349 | SYNVISC HYLAN G-F 20 (FOR VISCOSUPPLEMENTATION) | 1 | 0.05
350 | BARDEX LUBRICATH FOLEY CATHETER | 1 | 0.05
351 | NATRELLE INSPIRA SRF TRUFORM 1 (RESPONSIVE) | 1 | 0.05
352 | GLOOKO WEB APPLICATION | 1 | 0.05
353 | VIPERWIRE ADVANCE WITH FLEX TIP PERIPHERAL GUIDEWIRES | 1 | 0.05
354 | NRG TRANSSEPTAL NEEDLE | 1 | 0.05
355 | JUNIORSTAR HALF-UNIT | 1 | 0.05
356 | SPRINT QUATTRO SECURE S VENTRICULAR LEAD; AZURE S SR MRI SURESCAN | 1 | 0.05
357 | COMPIA MRI QUAD CRT-D SURESCAN | 1 | 0.05
358 | QUICKCHANGE ADAPTER | 1 | 0.05
359 | VALITUDE X4 CRT-P | 1 | 0.05
360 | CAPSUREFIX STEROID ELUTING UNIPOLAR SCREW-IN ATRIAL TRANSVENOUS LEAD; CAPSURE SP STEROID ELUTING BIPOLAR ATRIAL TRANSVENOUS LEAD; ASTRA XT DR MRI SURESCAN | 1 | 0.05
361 | SELECTSECURE MRI SURESCAN | 1 | 0.05
362 | SUPRA DPS ALTERNATING PRESSURE & LOW AIR LOSS MATTRESS REPLACEMENT SYSTEM | 1 | 0.05
363 | HF-RESECTION ELECTRODE, PLASMALOOP, ESG TCRIS | 1 | 0.05
364 | MOSAIC BIOPROSTHESIS 305 | 1 | 0.05
365 | CAPSUREFIX STEROID ELUTING UNIPOLAR SCREW-IN ATRIAL TRANSVENOUS LEAD; SPRINT FIDELIS STEROID ELUTING QUAD. VENT. LEAD W/RV/SVC DEFIB. COIL ELECTR; CAPSUREFIX NOVUS-STEROID ELUTING, BIPOLAR IMPLANTABLE,SCREW-IN TRANS LEAD; EVERA MRI S DR SURESCAN | 1 | 0.05
366 | RETRACTOR | 1 | 0.05
367 | LUTONIX 035 DRUG COATED BALLOON PTA CATHETER | 1 | 0.05
368 | INNOVA 4100 DIGITAL VASCULAR SYSTEM - MAIN UNIT | 1 | 0.05
369 | OPTISENSE STEROID ELUTING ATRIAL PACING LEAD WITH OPTIM INSULATION | 1 | 0.05
370 | OVATION IX ILIAC STENT GRAFT | 1 | 0.05
371 | ARCOS MODULAR REVISION HIP SYSTEM- CONE 60MM BODIES- STANDARD | 1 | 0.05
372 | BD ALARIS PUMP INFUSION SET; BD ALARIS PCU | 1 | 0.05
373 | 2 WAY FOLEY CATHETERS (SILICONISED) | 1 | 0.05
374 | VITALIO PACEMAKER | 1 | 0.05
375 | STYLE 68HP SMOOTH ROUND SALINE-FILLED BREAST IMPLANT HIGH PROFILE | 1 | 0.05
376 | OSSEOTITE STANDARD DIAMETER DENTAL IMPLANT | 1 | 0.05
377 | VNS THERAPY SYSTEM - VNS THERAPY LEAD | 1 | 0.05
378 | GUARDIAN SENSOR (3); MINIMED MIO; MINIMED 770G; MINIMED 780G PUMP | 1 | 0.05
379 | MULTIFLEX THERMODILUTION CATHETER (NON-HEPARIN COATED) | 1 | 0.05
380 | SENOCOR BIOPSY DEVICE | 1 | 0.05
381 | BONECUTTER BLADE PLATINUM SERIES | 1 | 0.05
382 | RESONATE X4 CRT-D- MRI | 1 | 0.05
383 | STYLE 20 SILICONE - FILLED BREAST IMPLANTS - SMOOTH ROUND | 1 | 0.05
384 | MPS 3 ND CONSOLE | 1 | 0.05
385 | TECNIS PURESEE IOL WITH TECNIS SIMPLICITY DELIVERY SYSTEM | 1 | 0.05
386 | TENDRIL STS PACING LEAD | 1 | 0.05
387 | QUARTET - QUADRIPOLAR S-CURVE FIXATION STEROID-ELUTING ENDOCARDIAL LEFT HEART LEAD | 1 | 0.05
388 | CAPSURE SENSE, STEROID ELUTING, VENTRICULAR, BIPOLAR, TRANSVENOUS LEAD | 1 | 0.05
389 | 50 ML STERILE PLASTIC CENTRIFUGE TUBES | 1 | 0.05
390 | STYLE 410MF SILICONE FILLED BREAST IMPLANTS | 1 | 0.05
391 | ABDOMINAL STENT GRAFT SYSTEM - OVATION PRIME | 1 | 0.05
392 | MEDTRONIC MINIMED PARADIGM MEDICATION RESERVOIRS; GUARDIAN SENSOR (3); MINIMED QUICK-SET; MINIMED 780G PUMP | 1 | 0.05
393 | MINIMED PARADIGM MEDICATION RESERVOIRS; GUARDIAN SENSOR (3); MINIMED QUICK-SET; MINIMED 780G PUMP | 1 | 0.05
394 | CAPSUREFIX NOVUS STERIOD ELUTING VENTRICULAR/ATRIAL TRANSVENOUS LEAD; CAPSUREFIX NOVUS MRI SURESCAN; ASTRA XT DR MRI SURESCAN | 1 | 0.05
395 | MOBI-C PLUG & FIT STANDARD; MOBI-C NO-TOUCH IMPLANT HOLDER | 1 | 0.05
396 | CAPSURE SENSE MRI SURESCAN LEADS | 1 | 0.05
397 | CAPSUREFIX NOVUS STERIOD ELUTING VENTRICULAR/ATRIAL TRANSVENOUS LEAD; SPRINT QUATTRO SECURE S MRI SURESCAN (DF4) | 1 | 0.05
398 | GUARDIAN SENSOR (3) | 1 | 0.05
399 | HANCOCK II BIOPROSTHESIS T505 | 1 | 0.05
400 | TRIATHLON KNEE PKR SYSTEM - UNICONDYLAR TIBIAL INSERT | 1 | 0.05
401 | ZIMMER SKIN GRAFT MESHER CUTTER | 1 | 0.05
402 | OSSEOTITE NT IMPLANT DENTAL IMPLANT | 1 | 0.05
403 | CAPSUREFIX NOVUS STERIOD ELUTING VENTRICULAR/ATRIAL TRANSVENOUS LEAD; ASTRA XT DR MRI SURESCAN | 1 | 0.05
404 | MEDTRONIC MINIMED PARADIGM MEDICATION RESERVOIRS; MINIMED MIO ADVANCE, SC1; MINIMED 770G | 1 | 0.05
405 | UNKNOWN - DEVICE DETAILS NOT PROVIDED BY COMPLAINANT; UNKNOWN MEDTRONIC MINIMED INSULIN PUMP | 1 | 0.05
406 | MEDLINE ALUMINUM COMMODE WITH WHEELS | 1 | 0.05
407 | MINIMED PARADIGM MEDICATION RESERVOIRS; UNKNOWN UNOMEDICAL INSULIN PUMP; UNKNOWN UNOMEDICAL LICENSE 5421 INFUSION SET | 1 | 0.05
408 | EMBLEM S-ICD ELECTRODE DELIVERY SYSTEM | 1 | 0.05
409 | UNKNOWN UNOMEDICAL INFUSION SET | 1 | 0.05
410 | REMSTAR AUTO WITH HUMIDIFIER, WITH SD CARD, A-FLEX, CANADA | 1 | 0.05
411 | BD NEXIVA CLOSED IV CATHETER SYSTEM - SINGLE PORT WITH MAXZERO NEEDLELESS CONNECTOR | 1 | 0.05
412 | DEXCOM G7 RECEIVER | 1 | 0.05
413 | UNKNOWN ARTHREX LATARJET 2.75 CANNULATED DRILL BIT | 1 | 0.05
414 | MINIMED 780G PUMP; MEDTRONIC EXTENDED INFUSION SET; EXTENDED RESERVOIR | 1 | 0.05
415 | CAPSURE Z STEROID ELUTING BIPOLAR VENTRICULAR TRANSVENOUS LEAD; ADVISA SR MRI SURESCAN | 1 | 0.05
416 | UNKNOWN BIOMET 3i IMPLANT | 1 | 0.05
417 | INQUIRY STEERABLE DIAGNOSTIC CATHETER | 1 | 0.05
418 | EDWARDS COMMANDER DELIVERY SYSTEM | 1 | 0.05
419 | STYLE 120 SILICONE - FILLED BREAST IMPLANTS - BIOCELL ROUND | 1 | 0.05
420 | ACCU-CHEK GUIDE TEST STRIPS | 1 | 0.05
421 | CROME DR MRI SURESCAN | 1 | 0.05
422 | MINIMED QUICK-SET | 1 | 0.05
423 | SERRATED RONGEUR 300MM | 1 | 0.05
424 | MINIMED 780G PUMP; GUARDIAN 4 SENSOR; MEDTRONIC EXTENDED INFUSION SET; EXTENDED RESERVOIR | 1 | 0.05
425 | UNKNOWN HYPERBRANCH MEDICAL CMF PRODUCT | 1 | 0.05
426 | MEDIGRIP LF ELASTIC TUBULAR SUPPORT BANDAGES | 1 | 0.05
427 | INFINITY POLY | 1 | 0.05
428 | DERMABOND PRINEO SKIN CLOSURE SYSTEM | 1 | 0.05
429 | SMOOTH ROUND ULTRA HIGH PROFILE GEL BREAST IMPLANT COHESIVE I | 1 | 0.05
430 | UNKNOWN ZELTIQ COOLSCULPTING SYSTEM | 1 | 0.05
431 | ECHELON CIRCULAR POWERED STAPLER | 1 | 0.05
432 | UNKNOWN CARESTREAM REVOLUTION MOBILE X-RAY SYSTEM | 1 | 0.05
433 | COCHLEAR HOME CHARGER | 1 | 0.05
434 | PEDIATRIC TWO-LUMEN CENTRAL VENOUS CATHETERIZATION SET | 1 | 0.05
435 | LIFEPAK 15 MONITOR/DEFIBRILLATOR | 1 | 0.05
436 | HAMILTON-C6 INTENSIVE CARE VENTILATOR | 1 | 0.05
437 | UNKNOWN ACCOLADE II HIP STEM | 1 | 0.05
438 | GUIDEWIRE - STRAIGHT TIP | 1 | 0.05
439 | NAVIFLEX RX DELIVERY SYSTEM | 1 | 0.05
440 | VIO 3 ELECTROSURGICAL UNIT | 1 | 0.05
441 | APC 3 ARGON PLASMA COAGULATION UNIT | 1 | 0.05
442 | UNKNOWN ICU MEDICAL PRIMARY IV TUBING WITH CASSETTE | 1 | 0.05
443 | SIMPLEXA COVID-19 DIRECT ASSAY | 1 | 0.05
444 | MICROPLEX 10 PLATINUM COIL SYSTEM - HYPERSOFT HELICAL | 1 | 0.05
445 | V-GRIP DETACHMENT CONTROLLER | 1 | 0.05
446 | ALARIS SYSTEM PC UNIT; BD ALARIS PUMP MODULE | 1 | 0.05
447 | MIC-KEY KIT | 1 | 0.05
448 | PADLOCK CLIP DEFECT CLOSURE SYSTEM | 1 | 0.05
449 | SYSTEM 5000 | 1 | 0.05
450 | JOERNS HEALTHCARE HOSPITAL BED | 1 | 0.05
451 | UNKNOWN VANTAGE ELECTROSURGICAL UNIT | 1 | 0.05
452 | PANDA IRES WARMER | 1 | 0.05
453 | AMSORB PLUS G-CAN | 1 | 0.05
454 | SWAN-GANZ THERMODILUTION CATHETERS; PERCUTANEOUS SHEATH INTRODUCER KIT WITH ARROWG+ARD BLUE(R) SHEATH, INTEGRAL HEMOSTASIS VALVE/SIDE PORT, AND MAXIMAL BARRIER PRECAUTIONS | 1 | 0.05
455 | UNKNOWN ARROW TRANSVENOUS PACEMAKER CATHETER | 1 | 0.05
456 | ROTAFLOW CARDIO PULMONARY BYPASS CENTRIFUGAL PUMP | 1 | 0.05
457 | 1788 4K CAMERA CONTROL UNIT WITH ADVANCED IMAGING MODALITY | 1 | 0.05
458 | JUVEDERM VOLUMA WITH LIDOCAINE | 1 | 0.05
459 | BIFUSE MICROCLAVE EXT SET | 1 | 0.05
460 | PORTEX CONTINUOUS EPIDURAL TRAY | 1 | 0.05
461 | UNKNOWN VANTIVE ADAPTER | 1 | 0.05
462 | ENDO CATCH GOLD AUTOSUTURE SPECIMEN RETRIEVAL POUCH | 1 | 0.05
463 | ALARIS PCA MODULE | 1 | 0.05
464 | OPAQUE CUFFED TUBING | 1 | 0.05
465 | CROCHET A PEAU | 1 | 0.05
466 | VERSAPULSE PULSE POWERSUITE HOLMIUM SURGICAL LASER SYSTEM | 1 | 0.05
467 | LABOUR & DELIVERY PACK | 1 | 0.05
468 | UNKNOWN ELECTROCAUTERY SYSTEMS | 1 | 0.05
469 | GLIDEPATH LONG-TERM HEMO DIALYSIS CATHETER WITH PRELOADED STYLET, STRAIGHT, STANDARD KIT | 1 | 0.05
470 | MEDFUSION MODEL 4000 SYRINGE INFUSION PUMP | 1 | 0.05
471 | DUROLANE | 1 | 0.05
472 | UNKNOWN GE AISYS ANESTHESIA MACHINE | 1 | 0.05
473 | GASTROSTOMY TUBE WITH ENFIT CONNECTOR | 1 | 0.05
474 | FLUID WARMING SYSTEM W/TWO PRESSURE INFUSERS/BUILT IN AIR DETECTOR CLAMP | 1 | 0.05
475 | MPS2L | 1 | 0.05
476 | SIENTRA OPUS SILICONE GEL BREAST IMPLANT HSC+ HIGH-STRENGTH COHESIVE GEL SMOOTH ROUND HIGH PROJECTION | 1 | 0.05
477 | LIFELINE BETA AV-SET ONLINE PLUS BVM 5008-R; UNKNOWN HAEMODIALYSIS SYSTEMS | 1 | 0.05
478 | HENRY SCHEIN REAMERS - STAINLESS STEEL | 1 | 0.05
479 | UNKNOWN CARESTREAM MEDICAL OXYGEN REGULATOR | 1 | 0.05
480 | SMOOTH ROUND ULTRA HIGH PROFILE SILICONE GEL FILLED BREAST IMPLANTS | 1 | 0.05
481 | AUTOSHIELD DUO PEN NEEDLE | 1 | 0.05
482 | BD MICROTAINER® MAP MICROTUBE FOR AUTOMATED PROCESSING | 1 | 0.05
483 | BIPAP AVAPS VENTILATORY SUPPORT SYSTEM - CORE PKG, CANADA | 1 | 0.05
484 | UNKNOWN BAXTER REPEATER PUMP | 1 | 0.05
485 | 10CC LUER-LOK TIP SYRINGE * NEEDLE | 1 | 0.05
486 | PLASTIC NEEDLE MR SAFE | 1 | 0.05
487 | DR 600 | 1 | 0.05
488 | INOMAX DS | 1 | 0.05
489 | MARPAC ADJUSTABLE ENDOTRACHEAL TUBE HOLDER | 1 | 0.05
490 | BASAL-IQ TECHNOLOGY | 1 | 0.05
491 | COBAS SARS-COV-2 & INFLUENZA A/B V2 | 1 | 0.05
492 | UNKNOWN MED-RX VENTILATOR | 1 | 0.05
493 | UNKNOWN MED-RX SUCTION COLLECTION CONTAINER | 1 | 0.05
494 | HYDRASENSE MEDIUM STREAM 100 ML; HYDRASENSE MEDIUM STREAM 210 ML | 1 | 0.05
495 | INFUSOMAT SPACE PUMP IV SET; UNKNOWN B BRAUN INFUSION PUMP | 1 | 0.05
496 | UNKNOWN GE ANAESTHESIA MACHINE | 1 | 0.05
497 | BD ALARIS SYRINGE MODULE; BD ALARIS PCU | 1 | 0.05
498 | INFUSOMAT SPACE PUMP IV SET; UNKNOWN INFUSION PUMPS | 1 | 0.05
499 | MONOSOF NONABSORBABLE MONOFILAMENT NYLON SURGICAL SUTURE | 1 | 0.05
500 | UNKNOWN BIOMED DEFIBRILLATORS | 1 | 0.05
501 | UNKNOWN BARD POWER PICC SOLO | 1 | 0.05
502 | SURSHIELD SAFETY WINGED BLOOD COLLECTION SET | 1 | 0.05
503 | UNKNOWN HAEMODIALYSIS SYSTEMS | 1 | 0.05
504 | FLUENT SYSTEM CONSOLE | 1 | 0.05
505 | MEDTRONIC CUSTOM PERFUSION SYSTEM | 1 | 0.05
506 | EVIS EXERA III VIDEO SYSTEM - COLONOVIDEOSCOPE | 1 | 0.05
507 | UNKNOWN INTEGRA LIFESCIENCES EXTERNAL CSF DRAINAGE COLLECTION BAG | 1 | 0.05
508 | INTELLIVUE MX500 PATIENT MONITOR | 1 | 0.05
509 | UNKNOWN COVIDIEN POLYURETHANE FEEDING TUBE | 1 | 0.05
510 | PROGRESSA (FRAME) | 1 | 0.05
511 | BECKMAN COULTER AU IMMUNOCHEMISTRY SYSTEM- AU480 ANALYZER | 1 | 0.05
512 | ASTRAL 150 | 1 | 0.05
513 | UNKNOWN STRYKER EVEREST SPINAL SET | 1 | 0.05
514 | UNKNOWN JOHNSON & JOHNSON FLUTED ROUTER | 1 | 0.05
515 | ACIST KODAMA CATHETER | 1 | 0.05
516 | TRILOGY EVO | 1 | 0.05
517 | HARMONY TPV TRANSCATHETER PULMONARY VALVE | 1 | 0.05
518 | RED DOT ELECTRODES & ACCESSORIES | 1 | 0.05
519 | UNKNOWN ARTHREX SCORPION NEEDLE KNEE | 1 | 0.05
520 | ETERNA IMPLANTABLE PULSE GENERATOR | 1 | 0.05
521 | POWER-TRIALYSIS SHORT TERM CURVED DIALYSIS CATHETER KIT | 1 | 0.05
522 | ACCU-CHEK GUIDE | 1 | 0.05
523 | ALLIANCE EARLOOP PROCEDURE MASK | 1 | 0.05
524 | V.A.C.ULTA NEGATIVE PRESSURE WOUND THERAPY UNIT | 1 | 0.05
525 | C02 SWITCHING VALVE FOR INSUFFLATORS | 1 | 0.05
526 | BECKER EXTERNAL DRAINAGE AND MONITORING SYSTEM | 1 | 0.05
527 | UNKNOWN RESPIRATORY CANNULAE | 1 | 0.05
528 | SCAN ULTRASOUND GEL | 1 | 0.05
529 | STOCKERT SHILEY AORTIC ROOT CANNULA | 1 | 0.05
530 | UNKNOWN MED-RX SUCTION CATHETER | 1 | 0.05
531 | TDX SP POWER WHEELCHAIR | 1 | 0.05
532 | MPS 3 ND DELIVERY SETS | 1 | 0.05
533 | CIOS ALPHA | 1 | 0.05
534 | TEXIUM CLOSED MALE LUER WITH FEMALE CAP | 1 | 0.05
535 | MAGNETOM SOLA | 1 | 0.05
536 | ROTH NET STANDARD | 1 | 0.05
537 | INFUSOMAT SPACE PUMP IV SET WITH ANTI-SIPHON VALVE; UNKNOWN INFUSION PUMPS | 1 | 0.05
538 | UNKNOWN COLONOSCOPES | 1 | 0.05
539 | PERCUTANEOUS SHEATH INTRODUCER SET WITH ARROWG+ARD BLUE SHEATH; PERCUTANEOUS SHEATH INTRODUCER PROCEDURAL KITS | 1 | 0.05
540 | COBAS 8000-C702 CHEMISTRY ANALYZER | 1 | 0.05
541 | CODMAN EDS3 CSF EXTERNAL DRAINAGE SYSTEM WITH VENTRICULAR CATHETER | 1 | 0.05
542 | BIOCATH | 1 | 0.05
543 | STRYKER EYE SURGERY STRETCHER | 1 | 0.05
544 | INTUBATION KIT, Y-ADAPTER | 1 | 0.05
545 | GREENLIGHT XPS | 1 | 0.05
546 | ACCU-CHEK AVIVA-TEST STRIPS | 1 | 0.05
547 | ALARIS SYSTEM PC UNIT | 1 | 0.05
548 | UNKNOWN - DEVICE DETAILS NOT PROVIDED BY COMPLAINANT; UNKNOWN INFUSION PUMPS | 1 | 0.05
549 | F&P 950 RESPIRATORY HUMIDIFIER | 1 | 0.05
550 | HEALTHSMART SELECT SERIES UPPER ARM BLOOD PRESSURE MONITOR | 1 | 0.05
551 | UNKNOWN BARD ACCESS PICC | 1 | 0.05
552 | HAMILTON-G5 VENTILATOR | 1 | 0.05
553 | COBAS C 303 ANALYTICAL UNIT | 1 | 0.05
554 | LAERDAL SUCTION UNIT W/REUSABLE CANNISTER | 1 | 0.05
555 | UNKNOWN MED-RX CATHETER | 1 | 0.05
556 | UNKNOWN INTRAVENOUS ADMINISTRATION SETS | 1 | 0.05
557 | UNKNOWN BAUSCH AND LOMB STELLARIS ELITE PHACOEMULSIFICATION MACHINE | 1 | 0.05
558 | UNKNOWN SMITHS MEDICAL AIRWAY MUCUS CLEARING DEVICE | 1 | 0.05
559 | UNKNOWN CONMED CAUTERY INSTRUMENT | 1 | 0.05
560 | INFINITY ACUTE CARE SYSTEM WORKSTATION NEONATAL CARE - BABYLOG VN500 | 1 | 0.05
561 | MICROPLEX COIL SYSTEM - COSMOS 18 | 1 | 0.05
562 | UNKNOWN BAXTER PRISMAX THERMAX | 1 | 0.05
563 | PRECISIONGLIDE NEEDLE | 1 | 0.05
564 | CHANNEL ROUND WOUND DRAINS WITH TROCAR | 1 | 0.05
565 | UNKNOWN MINDRAY VAPORIZER SEVOFLURANE | 1 | 0.05
566 | SPECTRUM INFUSION PUMP WITH MASTER DRUG LIBRARY | 1 | 0.05
567 | MENTOR MEMORYGEL BOOST RESTERILIZABLE GEL SIZER - MODERATE HIGH PROFILE | 1 | 0.05
568 | UNKNOWN BELPRO MEDICAL INFORMATION SYSTEM | 1 | 0.05
569 | MINIBORE PCA SET, INTEGRAL PAV, INJECTOR ASSEMBLY, SECURE LOCK | 1 | 0.05
570 | MENTOR MEMORYGEL BOOST BREAST IMPLANT SMOOTH HIGH PROFILE SILICONE GEL-FILLED BREAST IMPLANT | 1 | 0.05
571 | ALARIS SYSTEM - DEDICATED IV ADMIN SETS | 1 | 0.05
572 | UNKNOWN ANGIODYNAMICS BIOFLO PICC LINE | 1 | 0.05
573 | HEALICOIL REGENESORB SUTURE ANCHOR | 1 | 0.05
574 | VIZISHOT 2 | 1 | 0.05
575 | BAXTER 15L CYCLED DRAINAGE BAG | 1 | 0.05
576 | SALEM SUMP DUAL LUMEN STOMACH TUBE ANTI-REFLUX VALVE | 1 | 0.05
577 | ENSEAL X1 TISSUE SEALER | 1 | 0.05
578 | CAPTIVATOR II SINGLE-USE POLYPECTOMY SNARES | 1 | 0.05
579 | COOK-SWARTZ DOPPLER PROBE | 1 | 0.05
580 | DISPOSABLE, SMOKE EVACUATION PENCIL TELESCOPIC, WITH HOLSTER, STERILE | 1 | 0.05
581 | CADD ADMINISTRATION SET | 1 | 0.05
582 | CODMAN EDS3 CSF EXTERNAL DRAINAGE SYSTEM | 1 | 0.05
583 | DRY SURGICAL 2.5CMX5M NON STERILE MULTIPORE TAPE | 1 | 0.05
584 | SHILEY ORAL/NASAL ENDOTRACHEAL TUBE, INTERMEDIATE CUFF, NON DEHP | 1 | 0.05
585 | UNKNOWN BD ALARIS IV SET | 1 | 0.05
586 | Y-TYPE CATHETER EXTENSION SET | 1 | 0.05
587 | TRACHEOSTOMY TUBES MID-RANGE AIRE-CUF, SILICONE, ADULT | 1 | 0.05
588 | SPECTRA OPTIA APHERESIS SYSTEM - EXCHANGE SET | 1 | 0.05
589 | SPACE INFUSION SYSTEM - SPACESTATION INCL. SPACECOM | 1 | 0.05
590 | SENSICARE POWDER-FREE NITRILE EXAM GLOVES | 1 | 0.05
591 | STOPCOCKS; PRESSURE INFUSION EXT SET W/MICROCLAVE CLEAR, CLAMP, ROTATING LUER | 1 | 0.05
592 | HARMONIC ACE+7 LAPAROSCOPIC SHEARS WITH ADVANCED HEMOSTASIS | 1 | 0.05
593 | VOLUMAT LINE SECONDARY INFUSION SET (WITH HANGER) | 1 | 0.05
594 | SMALLBORE EXT SET W/MICROCLAVE CLEAR, CLAMP, ROTATING LUER | 1 | 0.05
595 | SMART SCALE II | 1 | 0.05
596 | BD INSYTE AUTOGUARD BC PRO | 1 | 0.05
597 | AK 98 | 1 | 0.05
598 | EZ-IO G3 POWER DRIVER SEALED LI-MAROON | 1 | 0.05
599 | TORAY FILTRYZER | 1 | 0.05
600 | PRUITT F3 CAROTID SHUNT | 1 | 0.05
601 | BARDEX IC FOLEY CATHETER | 1 | 0.05
602 | NON-DEHP FLUID PATH INTRAVIA CONTAINER, EMPTY | 1 | 0.05
603 | SILASTIC FOLEY CATHETER | 1 | 0.05
604 | INSYTE-N I.V. CATHETER WITH WINGS (24G/14MM) | 1 | 0.05
605 | MYOSURE MANUAL | 1 | 0.05
606 | FLUENT SYSTEM CONSOLE; FLUENT FLUID MANAGEMENT SYSTEM PROCEDURE KIT | 1 | 0.05
607 | LIGASURE IMPACT CURVED, LARGE JAW, OPEN SEALER/DIVIDER NANO-COATED | 1 | 0.05
608 | NOVASURE IMPEDANCE CONTROLLED ABLATION DISPOSABLE DEVICE KIT WITH SURESOUND UTERINE SOUND | 1 | 0.05
609 | EXT SET W/MICROCLAVE CLEAR, CLAMP, ROTATING LUER | 1 | 0.05
610 | TRUWAVE/VAMP (LASS) | 1 | 0.05
611 | FX 1000 HDF DIALYSER | 1 | 0.05
612 | NOVASURE IMPEDANCE CONTROLLED ENDOMETRIAL ABLATION DISPOSABLE DEVICE | 1 | 0.05
613 | ASSURITY MRI PACEMAKER | 1 | 0.05
614 | BONE SCREWS, AXS, SELF-TAPPING UNIVERSAL 2.0 MP | 1 | 0.05
615 | MOBILE X-RAY SYSTEM MOBILEDART EVOLUTION | 1 | 0.05
616 | POWERSEAL CURVED JAW SEALER & DIVIDER DOUBLE ACTION | 1 | 0.05
617 | APOLLO ONYX DELIVERY MICRO CATHETER | 1 | 0.05
618 | PREMICATH, 28G WITH SPLITTING NEEDLE | 1 | 0.05
619 | ENDO STITCH AUTOSUTURE SINGLE USE SUTURING DEVICE | 1 | 0.05
620 | UNIVERSAL MID-FACE BONE SCREWS | 1 | 0.05
621 | ARTICULATING LAPAROSCOPIC TISSUE SEALER G2 CURVED JAW | 1 | 0.05
622 | THERAKOS CELLEX PHOTOPHERSIS SYSTEM - PROCEDURAL KIT | 1 | 0.05
623 | SPACE INFUSION SYSTEM - INFUSOMAT SPACE VOLUMETRIC INFUSION PUMP; CARESITE SMALLBORE EXTENSION SET | 1 | 0.05
624 | UNKNOWN TRUDELL HEALTHCARE HEADSET VMAX | 1 | 0.05
625 | SPACE INFUSION SYSTEM - PLUG-IN POWER SUPPLY | 1 | 0.05
626 | MVP MICRO VASCULAR PLUG, MECHANICAL DETACHMENT | 1 | 0.05
627 | PROTECTIV PLUS SAFETY I.V. CATHETERS - RADIOPAQUE | 1 | 0.05
628 | VITROS CHEMISTRY PRODUCTS CALIBRATOR KIT 32 | 1 | 0.05
629 | RANGER IRRIGATION FLUID WARMING SYSTEM - IRRIGATION SET | 1 | 0.05
630 | POWERPICC SOLO2 CATHETER, FULL TRAY (WITH SHERLOCK 3CG TPS STYLET) | 1 | 0.05
631 | EXT SET W/FILTERS | 1 | 0.05
632 | BASIC IV SOLUTION ADMINISTRATION SET DUO-VENT SPIKE/CLEARLINK VALVE | 1 | 0.05
633 | 3M 1870+ AURA N95 RESPIRATOR | 1 | 0.05
634 | EXT SET W/REMV MICROCLAVE CLEAR, CLAMP, ROTATING LUER | 1 | 0.05
635 | ROTAPRO PRE-CONNECTED EXCHANGEABLE BURR CATHETER AND BURR ADVANCING DEVICE | 1 | 0.05
636 | GREY LAPAROSCOPIC ELECTRODES | 1 | 0.05
637 | GENERAL CARDIOVASCULAR PACK | 1 | 0.05
638 | EXT SET W/CHEMOLOCK, Y-CONNECTOR, ROTATING LUER | 1 | 0.05
639 | NOVASURE IMPEDANCE CONTROLLED ENDOMETRIAL ABLATION SYSTEM | 1 | 0.05
640 | PRISMAFLEX HAEMODIALYSIS SETS WITH FILTER | 1 | 0.05
641 | BARDEX LUBRICATH TIEMANN MODEL HYDROGEL COATED FOLEY CATHETER, RADIOPAQUE 5ML BALLOON | 1 | 0.05
642 | POWERPICC CATHETER, FULL TRAY (WITH SHERLOCK 3CG TPS STYLET) | 1 | 0.05
643 | SMALL BONE FASTAK SUTURE ANCHOR | 1 | 0.05
644 | AMT G-JET- ENFIT | 1 | 0.05
645 | PRIMEADVANCED SURESCAN MRI NEUROSTIMULATOR | 1 | 0.05
646 | MED-RX DRESSING TRAY | 1 | 0.05
647 | NITRILE EXAM GLOVES - POWDER FREE | 1 | 0.05
648 | CARTO VIZIGO BI-DIRECTIONAL GUIDING SHEATH 8.5F | 1 | 0.05
649 | POWERPICC SV CATHETER - RADIOLOGY BASIC TRAY | 1 | 0.05
650 | AUTO SUTURE STRUCTURAL BALLOON TROCAR | 1 | 0.05
651 | E-Z CLEAN CAUTERY TIP | 1 | 0.05
652 | ENDOGATOR HYBRID | 1 | 0.05
653 | PROXIMATE RELOADABLE LINEAR CUTTER WITH SAFETY | 1 | 0.05
654 | SOLUTION SET | 1 | 0.05
655 | DRILL BIT GOLD | 1 | 0.05
656 | THREE-SPRING 400CC EVACUATOR WITH Y-CONNECTOR TUBE | 1 | 0.05
657 | ACCU-CHEK INFORM II TEST STRIPS (50X) | 1 | 0.05
658 | INFUSION SET - V/NV CV SS DEHP FREE | 1 | 0.05
659 | STOPCOCKS; CLEAR MICROCLAVE CONNECTOR | 1 | 0.05
660 | SOL-CARE SAFETY NEEDLE | 1 | 0.05
661 | 11 VOLT LITHIUM ION BATTERY | 1 | 0.05
662 | SWAN-GANZ THERMODILUTION CATHETERS | 1 | 0.05
663 | TACTIFLEX ABLATION CATHETER, SENSOR ENABLED | 1 | 0.05
664 | PROXIMATE RL PLUS RELOADABLE LINEAR STAPLER | 1 | 0.05
665 | INFUSION SET - SS MF LOW SORBING | 1 | 0.05
666 | FX 800 HDF DIALYSER | 1 | 0.05
667 | BLUSELECT TRACHEOSTOMY TUBE | 1 | 0.05
668 | SHILEY TRACHEOSTOMY TUBES XLT CUFFED | 1 | 0.05
669 | CADD-SOLIS AMBULATORY INFUSION PUMP - MAIN UNIT | 1 | 0.05
670 | SMOOTH MODERATE HIGH PROFILE XTRA SILICONE GEL-FILLED BREAST IMPLANT | 1 | 0.05
671 | UNKNOWN MEDTRONIC TRANSCATHETER VALVE | 1 | 0.05
672 | INDIGO SYSTEM LIGHTNING FLASH FLASH ASPIRATION CATHETER, HTORQ TIP + LIGHTNING FLASH ASPIRATION TUBING | 1 | 0.05
673 | CARTO 3 NAVIGATION SYSTEM; UNKNOWN BIOSENSE SMART TOUCH BIDIRECTIONAL CATHETER | 1 | 0.05
674 | IMPAX | 1 | 0.05
675 | UNKNOWN MEDTRONIC RESERVOIR | 1 | 0.05
676 | VICRYL (POLYGLACTIN 910) ABSORBABLE SUTURE | 1 | 0.05
677 | ITS4850A INTELLIVUE TELEMETRY SYSTEM - MONITOR | 1 | 0.05
678 | INNOVA OVER-THE-WIRE SELF-EXPANDING STENT SYSTEM | 1 | 0.05
679 | POWERPICC SOLO CATHETER, SL, SS GUIDEWIRE | 1 | 0.05
680 | INTREPID TRANSFEMORAL DELIVERY SYSTEM | 1 | 0.05
681 | ZOLL AED PRO EXTERNAL DEFIBRILLATOR | 1 | 0.05
682 | MINIMED 630G | 1 | 0.05
683 | EVERA MRI S DR SURESCAN | 1 | 0.05
684 | MICRA MC1VR01 | 1 | 0.05
685 | IMPELLA CIRCULATORY SUPPORT SYSTEM - IMPELLA CP WITH SMART ASSIST | 1 | 0.05
686 | AVALUS BIOPROSTHESIS MODEL 400 | 1 | 0.05
687 | CONTOUR PROFILE NATURAL MAMMARY PROSTHESIS | 1 | 0.05
688 | THERMOCOOL SMARTTOUCH SF BI-DIRECTIONAL NAVIGATION CATHETER; UNKNOWN ELECTROSURGICAL/RADIO-FREQUENCY ABLATION SYSTEM GENERATORS | 1 | 0.05
689 | SOUNDSTAR ECO DIAGNOSTIC ULTRASOUND CATHETER; PENTARAY NAV ECO HIGH DENSITY MAPPING CATHETER | 1 | 0.05
690 | ECHELON FLEX POWERED VASCULAR STAPLER | 1 | 0.05
691 | QDOT MICRO BI-IDIRECTIONAL NAVIGATIONAL CATHETER; NGEN GENERATOR | 1 | 0.05
692 | PENTARAY NAV ECO HIGH DENSITY MAPPING CATHETER | 1 | 0.05
693 | UNKNOWN BIOSENSE WEBSTER SOUNDSTAR CATHETER; UNKNOWN BIOSENSE WEBSTER PENTARAY CATHETER | 1 | 0.05
694 | SINGLE USE ELECTROSURGICAL KNIFE KD-655 DUALKNIFE J | 1 | 0.05
695 | SILTEX LOW BLEED GEL FILLED MAMMARY PROSTHESIS | 1 | 0.05
696 | DECANAV ELECTROPHYSIOLOGY CATHETER | 1 | 0.05
697 | ENDOPATH ETS FLEX45 ARTICULATING ENDOSCOPIC LINEAR CUTTER | 1 | 0.05
698 | SILTEX LOW BLEED GEL FILLED MAMMARY PROSTHESIS; SILTEX TEXTURED ROUND HIGH PROFILE SILICONE GEL FILLED BREAST IMPLANTS | 1 | 0.05
699 | LOCKING SCREW FOR IM NAIL, NONSTERILE | 1 | 0.05
700 | HEARTWARE VENTRICULAR ASSIST SYSTEM - HVAD IMPLANT KIT | 1 | 0.05

## Top 50 Devices
Rank | Device_Name | Incident_Count | Percentage
1 | SPACE INFUSION SYSTEM - INFUSOMAT SPACE VOLUMETRIC INFUSION PUMP | 117 | 5.95
2 | INFUSOMAT SPACE PUMP IV SET | 92 | 4.67
3 | LIFELINE BETA AV-SET ONLINE PLUS BVM 5008-R | 84 | 4.27
4 | T:SLIM X2 INSULIN PUMP WITH CONTROL-IQ TECHNOLOGY | 75 | 3.81
5 | CONTROL-IQ TECHNOLOGY | 48 | 2.44
6 | T:SLIM/CONTROL-IQ | 45 | 2.29
7 | T:SLIM X2 CARTRIDGE | 40 | 2.03
8 | MINICAP EXTENDED LIFE PD TRANSFER SET W/TWIST CLAMP | 31 | 1.58
9 | PRISMAX CONTROL UNIT | 24 | 1.22
10 | NOVUM IQ LARGE VOLUME PUMP | 22 | 1.12
11 | DEXCOM G7 SENSOR | 21 | 1.07
12 | OMNIPOD DASH, PODS 10-PACK | 18 | 0.91
13 | INFUSOMAT SPACE PUMP IV SET WITH ANTI-SIPHON VALVE | 18 | 0.91
14 | T:SLIM/CONTROL-IQ, REPLACEMENT | 17 | 0.86
15 | INFUSOMAT SPACE PUMP IV SET; SPACE INFUSION SYSTEM - INFUSOMAT SPACE VOLUMETRIC INFUSION PUMP | 17 | 0.86
16 | DEXCOM G6 SENSOR | 16 | 0.81
17 | SMOOTH ROUND MODERATE PLUS PROFILE SILICONE GEL FILLED BREAST IMPLANTS | 15 | 0.76
18 | UNKNOWN LUMENIS VERSAPULSE HOLMIUM LASER | 15 | 0.76
19 | PRISMAFLEX HAEMODIALYSIS SETS WITH FILTER; PRISMAX CONTROL UNIT | 15 | 0.76
20 | INGEVITY+ EXTENDABLE/RETRACTABLE FIXATION | 14 | 0.71
21 | RELIANCE 4-FRONT - SINGLE SHOCK COIL WITH SILICONE IN-FILL | 13 | 0.66
22 | FINELINE II STEROX | 12 | 0.61
23 | HEARTMATE 3 LVAS IMPLANT KIT | 12 | 0.61
24 | ACCOLADE MRI PACEMAKER | 12 | 0.61
25 | KANGAROO OMNI ENTERAL FEEDING PUMP | 12 | 0.61
26 | VIAVALVE-W SAFETY IV CATHETER - RADIOPAQUE | 12 | 0.61
27 | UNKNOWN B BRAUN INFUSION PUMP | 11 | 0.56
28 | B-D LUER-LOK TIP SYRINGE | 11 | 0.56
29 | INFUSOMAT SPACE PUMP Y-TYPE BLOOD IV SET WITH ANTI-SIPHON VALVE | 11 | 0.56
30 | HARMONIC 1100 SHEARS | 10 | 0.51
31 | THERMAGE THERMACOOL CPT SYSTEM - TREATMENT TIP, FAST, FRAMED, NON-STERILE | 10 | 0.51
32 | CAPTIVATOR COLD SINGLE-USE SNARE | 10 | 0.51
33 | COOLSCULPTING SYSTEM - CONTROL UNIT | 9 | 0.46
34 | THERMOCOOL SMARTTOUCH SF BI-DIRECTIONAL NAVIGATION CATHETER | 9 | 0.46
35 | TRICLIP G4 DELIVERY SYSTEM | 8 | 0.41
36 | MITRACLIP G4 CLIP DELIVERY SYSTEM, XTW | 8 | 0.41
37 | RESONATE EL ICD-MRI | 8 | 0.41
38 | AUTOSOFT 90 | 8 | 0.41
39 | OMNIPOD INSULIN MANAGEMENT SYSTEM - OMNIPOD | 8 | 0.41
40 | SMOOTH ROUND HIGH PROFILE SILICONE GEL FILLED BREAST IMPLANTS | 8 | 0.41
41 | BD ALARIS PUMP MODULE; BD ALARIS PCU | 8 | 0.41
42 | BD ALARIS PUMP MODULE | 8 | 0.41
43 | CARPENTIER-EDWARDS PERIMOUNT MAGNA EASE PERICARDIAL BIOPROSTHESIS, AORTIC | 7 | 0.36
44 | EVOLUT FX TRANSCATHETER AORTIC VALVE; EVOLUT FX DELIVERY CATHETER SYSTEM | 7 | 0.36
45 | INSYTE AUTOGUARD SHIELDED I.V. CATHETER | 7 | 0.36
46 | UNKNOWN - DEVICE DETAILS NOT PROVIDED BY COMPLAINANT | 7 | 0.36
47 | UNKNOWN B BRAUN IV TUBING | 7 | 0.36
48 | V60 VENTILATOR, SYMBOLS ONLY, WITH CFLEX AND AVAPS OPTIONS | 7 | 0.36
49 | FARAWAVE PULSED FIELD ABLATION CATHETER | 6 | 0.3
50 | EMBLEM S-ICD SUBCUTANEOUS ELECTRODE | 6 | 0.3

## Device Categories
Category | Incident_Count | Percentage
INFUSION/PUMP | 451 | 22.92
DIALYSIS | 114 | 5.79
INSULIN | 111 | 5.64
IMPLANT | 102 | 5.18
SURGICAL | 72 | 3.66
MONITORING | 56 | 2.85
CARDIAC | 36 | 1.83
RESPIRATORY | 27 | 1.37